Site Survey Form – Pre-Installation Checklist

1. General Information

- Site Name:    _______________________________________________________________________

- Representative / Contact Name:    ___________________________________________________

- Customer / Contact Name:   ________________________________________________________

- Etrapp Pro/ Contact Name:    _______________________________________________________

- Etrapp Pro Setup Complete:  ☐ Yes   ☐ No

- Location:   _________________________________________________________________________

- Date:  _____________________________________________________________________________

- Surveyed by:   ______________________________________________________________________

- Customer / Contact Name:   ________________________________________________________

- Phone Cell Number:   _______________________________________________________________

- Email:   ____________________________________________________________________________

2. Site Overview

- Facility Type: ☐ Warehouse  ☐ Food Plant  ☐ Agricultural  ☐ Commercial  ☐ Residential                                               ☐ Other:  ____________________________________________________________________

- Primary eTrapp:  ☐ Residential   ☐ Commercial

- Environmental Conditions:

  - Temperature Range:  ______________ °F

  - Humidity Levels:       ______________ %

  - Dust / Moisture Exposure:  ☐ Low   ☐ Moderate   ☐ High

Notes:

3. Power & Connectivity

- Power Source Availability:

  - ☐ 110V AC outlet nearby (distance: _________ ft)

  - ☐ Battery/Solar feasible

- Connectivity Type:

  - ☐ LoRa   ☐ Wi-Fi   ☐ Cellular   ☐ Ethernet

- Signal Strength Test:

  - RSSI / dBm reading: __________

  - Gateway / Access point proximity: __________ ft / m

  - SSID Name:  _______________________________________________________

  - Password:     _______________________________________________________

- Interference Sources:

  - ☐ Concrete / Steel Walls

  - ☐ Refrigeration Units

  - ☐ Electrical Panels

  - ☐ Other:  __________________________________________________________

4. eTrapp Placement Evaluation

- Potential eTrapp Locations:

  - Area 1:   ___________________________________________________________

  - Area 2:   ___________________________________________________________

  - Area 3:   ___________________________________________________________

- Evidence of Fall:

  - Minium 5 inches required / ability to access bottom: ☐ Yes ☐ No

- Recommended Mounting Type:

  - ☐ Vertical    ☐ Horizonal    ☐ Attic   ☐ Closet

- Obstructions or Hazards Nearby:   _________________________________________

- Installation Environment

  - ☐ Conditioned Space    ☐ Non-Conditioned Space

- Is the condensate drain plumbed into the sewer?   ☐ Yes   ☐ No

- Is there a float switch in the coil pan?                       ☐ Yes   ☐ No

- Is there a secondary overflow pan?                           ☐ Yes   ☐ No

Notes:

5. Network & Gateway Positioning

- Gateway Mounting Location:   ____________________________________________

- Power Access:   ☐ Yes   ☐ No

- Height / Visibility:  ____________ ft

- Antenna Orientation / Line of Sight:   ☐ Clear   ☐ Obstructed

- Expected Coverage Radius:  ____________ ft / m

6. Environmental / Regulatory Factors

- Chemical Use Nearby:   ☐ None   ☐ Moderate   ☐ High

- Cleaning Schedule:   ☐ Daily   ☐ Weekly   ☐ Monthly

- Temperature Extremes:   ☐ Yes   ☐ No (details): _________________________________

- Local Compliance Requirements:   ☐ Food Safety   ☐ OSHA   ☐ EPA

☐ Other: _____________________________________________________________________

7. Photos & Documentation

- ☐ Site Overview Photo

- ☐ Individual Trap Area Photos

- ☐ Power and Gateway Access Points

- ☐ Obstacles or Interference Zones

8. Final Notes / Recommendations

- Installer Observations: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Recommended Equipment Count: _____________ eTrapps

- Gateway Needed:   ☐ Yes   ☐ No (Qty: ________)

- Accessories Required:   ☐ Power Adapter   ☐ Mounting Bracket   ☐ Signal Extender

☐ Other: ___________________________________________________________________

- Estimated Installation Time: _______________ hours

Surveyor Signature:   _________________________________________________

Date:   ______________________________